| Rhinos Asset Holdings | The Rugby Village | Document Number |
| --- | --- | --- |
|  |  | EMS – 05 |
|  | Integrated Management System | Revision No. & Date |
|  |  | 00 – 20 August 2024 |
|  | ENVIRONMENTAL METHOD STATEMENT Diesel tank and refueling procedures | Page Number |
|  |  | Page 1 of 2 |

| Date | 20 August 2024 |
| --- | --- |
| Site Name: | The Rugby Village, Portion 63 & 25 Farm Gustrouw 918, Mondeor Road, Stellenbosch Farms, City of Cape Town, 7130 |

# Activity: Diesel tanks and refueling procedures

- Refueling plant on site and having a mobile and or stationary diesel tank on site

SCOPE

The method statement will provide the required management for all the refueling on site

INTRODUCTION

WORKS, MANAGEMENT ACTIONS, CONTROLS

- At the starting phase of the project, we shall have a certified diesel Truck (bower) coming

to site to fill up all the machines on site

- The truck shall stand in one safe place with a drip tray where all the machines will come to the bower to fill up.

- We have a small trailer bower that is stationary in the main camp that has a drip tray under it

at all times.

- In case of any leak or spill, the contaminated material shall be picked up and put into the spill kit and carted off site to a legal dumping area.

# Penalties

If a contractor is deemed not to have complied with this method statement, they will be fined in accordance with the approved CEMPr

# The following will be relevant contact details:

| Name and Surname | Representing – Position | Contract details |
| --- | --- | --- |
| Mynhardt Enslin | Rhinos Rugby Academy- Project Director/Site Manager | 083 603 0770 |
| Neels Van Koeler | Boland Grondwerk – Civil Contractor | 082 940 1749 |
| Calie Vermeulen | Boland Grondwerk – Site Foreman | 083 607 8589 |
| Chris Oosthuizen | Safe Working Practice – SHEQ Consultant | 082 888 6456 |
| Monique Norman | Health & Safety Manager | 072 261 8203 |
| Klye Enslin | Pepper Pod - Construction Manager | 083 759 5816 |
| Roelof Rabe | Roelof Rabe – Consulting Architect | 021 914 1690 |
| Divan Opperman | Guillaume Nel Environmental Consultants | 076 453 8829 |

| Rhinos Asset Holdings | The Rugby Village | Document Number |
| --- | --- | --- |
|  |  | EMS – O5 |
|  | Integrated Management System | Revision No. & Date |
|  |  | 00 – 20 August 2024 |
|  | ENVIRONMENTAL METHOD STATEMENT Diesel tanks and refueling procedures | Page Number |
|  |  | Page 2of 2 |

DECLARATIONS FOR ENVIRONMENTAL METHOD STATEMENT

| SITE MANAGER The works described in this Method Statement, if carried out according to the methodology described, is satisfactory to prevent or control environmental harm and is thus approved: SM Name Approval Date Signature | CONTRACTOR I understand the contents of this Method Statement and the scope of the works required of me. I further understand that this Method Statement may be amended on application to and with approval by the Site Manager, and that the SHE Officer, Construction Manager and ECO will audit my compliance with the contents of this Method Statement: Contractor ___________ _ __ Acceptance Date ___________ _____ Signature ______________ __ |
| --- | --- |
| ENVIRONMENTAL CONTROL OFFICER (ECO) The works described in this Method Statement, if carried out according to the methodology described, is satisfactory to prevent or control environmental harm and is thus approved: ECO Name Approval Date Signature | COMMENTS: |