| Rhinos Asset Holdings | The Rugby Village | Document Number |
| --- | --- | --- |
|  |  | EMS – 08 |
|  | Integrated Management System | Revision No. & Date |
|  |  | 00 – 23 August 2024 |
|  | ENVIRONMENTAL METHOD STATEMENT Fire Control | Page Number |
|  |  | Page 1 of 3 |

| Date | 23 August 2024 |
| --- | --- |
| Site Name: | The Rugby Village, Portion 63 & 25 Farm Gustrouw 918, Mondeor Road, Stellenbosch Farms, City of Cape Town, 7130 |

# Activity: Fire Control

- Fire Control

- Milling and Patching

SCOPE

The method statement will provide the required management for all the control of fires, milling and patching

INTRODUCTION

WORKS, MANAGEMENT ACTIONS, CONTROLS

MANAGEMENT ACTIONS

- The applicable emergency numbers will be listed and made available and posted

on site

- The applicable health and safety and warning signs (eg No smoking) will be

posted where required. (eg. areas where hazardous or flammable substances are stored)

- Smoking on site will only be allowed in an approved area. (Designated smoking area)

- Material safety data sheets (MSDS) will be kept on  a site file of all hazardous or flammables substance used or stored on site.

- No open fires will be made on site, only in designated braai areas for cooking purposes.

- No open fires will be made on site, unless instructed by the Site Manager and the necessary paperwork is done.

- Fire department will be advised immediately with the start of a fire.

- Sufficient or enough water points will be available on site and camp site, with a water truck also available if necessary.

- A competent person is appointed to handle the fire extinguisher and to do the daily checks and ensure the fire extinguishers are kept in good working condition and service schedules are maintained

- The fire extinguishers will be kept in designated positions which (Like the office container, eating areas, storage containers and areas on site) and always accessible

- The necessary signage will be in place.

- Every machine or mobile plant is also equipped with a fire extinguisher.

- A fire extinguisher will also be placed infield where a generator is used

| Rhinos Asset Holdings | The Rugby Village | Document Number |
| --- | --- | --- |
|  |  | EMS – 08 |
|  | Integrated Management System | Revision No. & Date |
|  |  | 00 – 23 August 2024 |
|  | ENVIRONMENTAL METHOD STATEMENT Fire Control | Page Number |
|  |  | Page 2 of 3 |

CONTROLS

List of environmental standards to be met:

- Occupational Health and Safety Act (No.85 of 1993)

- National Environmental Management:  Waste Act (No 59 of 2008)

MONITORING AND RECORD KEEPING

(Description of  how the activity will be monitored to ensure that the environmental standards are met, as well as the records to be kept)

- Daily site walkabout by Site Manager	Record	Site diary entry

- Weekly inspection by Contractor 		Record	Weekly checklist

- Monthly audits by ECO/Employer EO	Record	Monthly compliance audit checklist

- Incident reporting				Record	Environmental Incident reports 									including corrective action

- Staff training					Record	Induction training register, toolbox

Talks attendance register

| Name and Surname | Representing – Position | Contract details |
| --- | --- | --- |
| Mynhardt Enslin | Rhinos Rugby Academy- Project Director/Site Manager | 083 603 0770 |
| Neels Van Koeler | Boland Grondwerk – Civil Contractor | 082 940 1749 |
| Calie Vermeulen | Boland Grondwerk – Site Foreman | 083 607 8589 |
| Chris Oosthuizen | Safe Working Practice – SHEQ Consultant | 082 888 6456 |
| Monique Norman | Health & Safety Manager | 072 261 8203 |
| Klye Enslin | Pepper Pod - Construction Manager | 083 759 5816 |
| Roelof Rabe | Roelof Rabe – Consulting Architect | 021 914 1690 |
| Divan Opperman | Guillaume Nel Environmental Consultants | 076 453 8829 |

| Rhinos Asset Holdings | The Rugby Village | Document Number |
| --- | --- | --- |
|  |  | EMS – O8 |
|  | Integrated Management System | Revision No. & Date |
|  |  | 00 – 23 August 2024 |
|  | ENVIRONMENTAL METHOD STATEMENT Fire Control | Page Number |
|  |  | Page 3of 3 |

DECLARATIONS FOR ENVIRONMENTAL METHOD STATEMENT

| SITE MANAGER The works described in this Method Statement, if carried out according to the methodology described, is satisfactory to prevent or control environmental harm and is thus approved: SM Name Approval Date Signature | CONTRACTOR I understand the contents of this Method Statement and the scope of the works required of me. I further understand that this Method Statement may be amended on application to and with approval by the Site Manager, and that the SHE Officer, Construction Manager and ECO will audit my compliance with the contents of this Method Statement: Contractor ___________ _ __ Acceptance Date ___________ _____ Signature ______________ __ |
| --- | --- |
| ENVIRONMENTAL CONTROL OFFICER (ECO) The works described in this Method Statement, if carried out according to the methodology described, is satisfactory to prevent or control environmental harm and is thus approved: ECO Name Approval Date Signature | COMMENTS: |